## Sheet1
Item | Model Number | Manufacturer | quantity | Price
12/2 MC Cable CU |  |  | 250'
14/2 MC Cable CU |  |  | 100'
12/ 2 NM Cable CU |  |  | 250'
12/3 NM Cable CU |  |  | 250'
14/2 NM cable CU |  |  | 100'
14/3 NM Cable CU |  |  | 250'
10/2 NM Cable CU |  |  | 100'
6/3 NM Cable CU |  |  | 125'
2/0 NM Cable CU |  |  | 15'
#4 armoured ground |  |  | 100'
Ground rod |  |  | 5/8" x 8'
7 terminal ground bar kit for Q/O Homeline panel |  |  | 1
Grounding Lug for load center |  |  | 1
Load center trim screw pack |  |  | 1 - (bag of 6)
Armored Ground clamp |  |  | 1
5/8" ground rod clamp for #10 - #2 |  |  | 1
Zinc ground clamp |  |  | 1
1-1/4" - 3" service entrance wire holder |  |  | 1
2" weather head, service entrance head |  |  | 1
2" x 10' rigid metal conduit |  |  | 1
2" hub |  |  | 1
#2 split bolt |  |  | 1
200 amp overhead/underground main panel |  |  | 1
15 amp single pole breaker |  |  | 1
20 amp single pole breaker |  |  | 1
20 amp tandom (twin) breaker |  |  | 1
30 amp 2-pole breaker |  |  | 1
20/50 amp quad tandem breaker |  |  | 1
3/8" NM 2-screw connector |  |  | 1 (50- count)
3/4" NM 2 screw connector |  |  | 1 (5 count )
1" NM 2 screw connector |  |  | 1
1/2" bushing plastic |  |  | 1 (10 Pack )
1/2" snap in MC connector |  |  | 1 (5 pack)
Anti shorts 3/8" |  |  | 1 (35 pack)
3/8" one hole straps |  |  | 1 (10 Pack)
1/2" EMT one hole straps |  |  | 1 (100 pack)
3/4" EMT one hole straps |  |  | 1 (100 pack)
1" EMT two hole straps |  |  | 1 (4 pack)
1/2" x 10' EMT |  |  | 1
3/4" x 10' EMT |  |  | 1
1" x 10' EMT |  |  | 1
Wire marker Booklet |  |  | 1
UGLY'S book |  |  | 1
Staples |  |  | 1 -(500 pack)
1/2" EMT drive straps |  |  | 1 (25 pack)
1/2" EMT set screw connectors |  |  | 1 (50 pack)
1/2" EMT set screw couplers |  |  | 1 (50 pack)
1" Rigid Connector - Threadless |  |  | 1
3/4" EMT set screw connectors |  |  | 1 (5 pack)
3/4" EMT compression connector |  |  | 1 (5 pack)
1/2" EMT compression couplers |  |  | 1 (5 pack)
1" rigid nipple |  |  | 1
1/2" flex connector |  |  | 1 (5 pack)
1/2" flex 90 |  |  | 1
1/2" flex |  |  | 100'
Unistrut 1-5/8" deep |  |  | 10'
1/2" strut channel spring nuts |  |  | 1 (5 pack)
1/2" strut pipe clamp |  |  | 1
PVC conduit 3/4" shcedule 40 |  |  | 10'
3/4" PVC 90 schedule 40 |  |  | 1
3/4" PVC Male adapter |  |  | 1
3/4" PVC Female adapter |  |  | 1
3/4" PVC coupler |  |  | 1
PVC glue |  |  | 8 oz.
Liquidtight flexible NM PVC conduit, 1/2" |  |  | 100'
Liquidtight NM PVC straight connector |  |  | 1 (5 pack)
Liquidtight NM PVC 90 degree connector |  |  | 1
4" square metal boxes no brackets |  |  | 1
4" square metal boxes with brackets |  |  | 1
4" square metal blank plate |  |  | 1
4" square metal extension box |  |  | 1
single gang ring cover (mud ring) |  |  | 1
Two gang ring cover (mud ring) |  |  | 1
3/0 metal round ring cover |  |  | 1
red wire nuts |  |  | 1 (100 pack)
Yellow wire nuts |  |  | 1 (100 pack)
single gang side nail plastic box |  |  | 1 (100 pack)
single gang front nail plastic box |  |  | 1
single gang adjustable box |  |  | 1
2-gang plastic side nail box |  |  | 1 (50 Pack)
3-gang plastic side nail box |  |  | 1
4" square plastic box |  |  | 1
4/0 round plastic box with side nail |  |  | 1 (75 pack)
4/0 round plastic box on hanger bar |  |  | 1
toggle switch |  |  | 1 (10 pack)
decora switch |  |  | 1 (10 pack)
3-way switch toggle |  |  | 1 (10 pack)
4-way switch toggle |  |  | 1
Standard duplex receptacle |  |  | 1 (10 pack)
Decora duplex receptacle |  |  | 1 (10 pack)
GFCi 15 ampe receptacle |  |  | 1
AFCI 15 amp receptacle- tamper resistant |  |  | 1
50 CFM bathroom exhaust fan |  |  | 1
Nail plates 1-1/2" x 2-1/2" |  |  | 1 (50 pack)
single gang 3 hole weatherproof box |  |  | 1
single gang 5 hole weatherproof box |  |  | 1
4/0 round Weatherproof box |  |  | 1
single gang weatherproof receptacle cover |  |  | 1
non fuse AC disconnect |  |  | 1
100' fish tape non conductive |  |  | 1
13" fish tape leader |  |  | 1
12 guage THHN black |  |  | 500'
1/2" conduit bender, alum |  |  | 1
Brass time delay fuse |  |  | 1 (2 pack)
15 amp plug fuse |  |  | 1 (pack of 4)
Doorbell transformer 16VAC/10VAC |  |  | 1
Electrical tape, Black |  |  | 1 (10 pack)
Electrical tape, White |  |  | 1
18V 1/2 drill/ hammer drill |  |  | 1
18V recprocating saw |  |  | 1
18V circular saw 7'1/4" kit |  |  | 1
multimeter |  |  | 1
Dianonal cutting pliers 8" |  |  | 1
Reamer |  |  | 1
10-18 AWG wire strippers |  |  | 1
Tongue and groove pliers 12" |  |  | 1
9" Linesman pliers |  |  | 1
MC cutter |  |  | 1
Torpedo level 7" |  |  | 1
Caddy clips (condit hanger from a drop wire) |  |  | 1 (10 pack)
Plastic drop cloth |  |  | 1 (3 pack)
PVC junction box 6" x 6" x 4" |  |  | 1
3/4" grounding bushing |  |  | 1-(2 pack